# Syracuse University

# Biosafety Standard Operating Procedures

[TITLE]

[Principal Investigator’s Name]

[Department Name]

[Building Name, Room Number]

Prepared by:

[Your Name]

[Your Title]

[Preparation Date]

Note: Complete all highlighted portions of the SOP prior to submission.

# SIGNATURE and ACKNOWLEDGEMENT PAGE

Authorization

All members of the [Principal Investigator’s] Lab who have signed the list below are approved for entry into Room [XXXX] while work with infectious agents is in progress.

Anyone (including any workers not in the PI’s Lab) who uses Room [XXXX] lab must sign below.

# Acknowledgement

We, the undersigned, understand that [the infectious agents used] handled in Room [XXXX] of [Building Name] are infectious to humans.  Furthermore, we have read and understood this manual and agree to comply with its mandates.

| Name | Signature | Date | Agent Vaccination( Yes/No/ Declined/NA? |
| --- | --- | --- | --- |

# I. PURPOSE

This document provides a comprehensive source for all matters covering the use of [infectious agent] handled in Room [XXXX].  Specifically, it describes the procedures to be used to ensure a safe working environment while working with potentially infectious materials.  This manual will be reviewed annually by the Principal Investigator (PI) for changes or corrections to ensure that it is accurate.

[The information in the following two sections is an example of the type of specific description of your operations and activities that you should include in your manual.  You should discuss detailed procedures and the actual precautions to be taken by those who work with the agents found in your laboratory.]

NOTE: PLEASE EDIT THE FOLLOWING PROCEDURES TO FIT YOUR LAB OPERATIONS. YOU ARE REQUIRED TO EXPLAIN IN THE BODY OF THIS DOCUMENT WHY A PARTICULAR REQUIREMENT DOES NOT APPLY TO THE WORK YOU ARE DOING.

# II. GENERAL PROCEDURES

List a procedures involving the use of potentially infectious material [insert a step-by-step procedure for this work]

# III. DESCRIPTION OF LABORATORIES

[Provide a summary of required project equipment and a floor plan showing its location].  Laboratory(ies) is/are located on the [xxx floor] of [Building Name] on the Syracuse University Campus.

# IV. GENERAL LAB RULES

- Work with potentially infectious materials will be performed in [Building Name, Room XXXX]. All work will be conducted in accordance with the Syracuse University Biosafety Program using Biosafety Level 2 (BSL-2) practices and procedures.

- Access to the laboratory will be restricted when work is in progress and a biohazard sign will be posted on the entrance to the lab.

- Designated use areas (equipment, storage, and work areas) where potentially infectious materials are used shall be labeled with a biohazard sticker.

- Use a class II biosafety cabinet for aerosol generating procedures and when working with large volumes and high concentrations of potentially infectious materials.

- No eating, drinking, smoking, handling contact lenses, or applying cosmetics in [Room XXXX] at any time.

- Mouth pipetting is prohibited; mechanical pipetting devices are to be used at all times.

- All procedures are performed carefully to minimize the creation of splashes or aerosols.

- Wash hands

- after handling potentially infectious materials,

- after removing gloves, and

- before leaving the laboratory.

- Razor blades, scalpels, and hypodermic needles (“sharps”) should be used only when absolutely needed and disposed of in a puncture-resistant container.

- Work surfaces are decontaminated using [specify the appropriate disinfectant for the potentially infectious material] at least once a day and after any spill of potentially infectious materials.

- All liquid wastes (cultures, stocks, and other potentially infectious material wastes) are to be treated and disposed of down the drain.

- All solid wastes (flasks, Petri dishes, pipet tips, serological pipets, conical tubes, etc.) are to be treated and disposed of as Regulated Medical Waste.

- Plasticware should be substituted for glassware whenever possible.

- All high-risk operations should be conducted with two knowledgeable individuals present. Each must be familiar with the applicable procedures, maintain visual contact with the other, and be ready to assist in the event of an accident.

# V. CONTAINMENT REQUIREMENTS

1. Biosafety Cabinets

A Class II Biological Safety Cabinet (BSC) shall be used for all procedures that will generate aerosols or droplets and for all infected cell-culture manipulations.

Before containers are removed from the BSC, the exterior of the closed primary container should be decontaminated and placed in a clean secondary container.

2. Centrifugation

All centrifugation shall be done using centrifuge safety buckets or sealed centrifuge tubes in sealed rotors. If a small centrifuge is used and centrifuge safety cups are not available, the centrifuge should be operated in the BSC.

Each person operating a centrifuge should be trained on proper operating procedures. Keep a logbook detailing operation records for centrifuges and rotors to assist in determining service requirements.

3. Vacuum lines

When vacuum lines are used with systems containing potentially infectious materials, they must be protected with a HEPA filter to prevent entry into the lines.

4. Transportation

Potentially infectious material leaving the lab must be placed in a leak/spill-proof secondary container and transported using a hand cart.

Potentially infectious material may not be transported in personal vehicles or on public transportation.

Contaminated and potentially contaminated equipment, PPE, samples, etc. must be decontaminated using methods known to be effective against the infectious agent before removal from the laboratory.

# VI. PROPER USE OF BIOLOGICAL SAFETY CABINETS

1. To assure sterility inside the BSC and establish proper air flow for containment, the blower should be turned on at least ten minutes before potentially infectious materials are put into the biosafety cabinet.

2. Biosafety cabinets must be tested and certified by an approved contractor at the time of installation, any time the cabinet is moved, and at least annually. Check the certification sticker on the front of the unit to verify your biosafety cabinet’s condition. Contact EHSS if the last certification is more than one year old.

3. Wipe inner surfaces (especially the pan) with a solution of [specify the appropriate disinfectant for the potentially infectious material] and allow to dry.  Always keep a bottle of disinfectant near the cabinet for decontaminating, or in case of a spill.

NEVER place anything over the front or rear grill of a biosafety cabinet.

4. Disrupting the air flow into the front grill allows contaminated air from inside the cabinet to blow into the lab or directly at the person sitting at the cabinet!  It also allows non-sterile air from the room to blow into the BSC over your experiments!

5. Materials should be placed in the cabinet so as not to block air flow into the rear grill.  Leave a few inches for air to flow around all materials.  Any disruption of the air flow in the cabinet decreases its effectiveness.

Remember: “A biosafety cabinet is only as safe as the person using it.”

6. Before manipulating potentially infectious materials, try to make sure that you have everything you need in the cabinet.  The fewer times you pull your hands out of the cabinet, the less disruption of the air flow.

7. Work should be performed on the center of the work surface of the cabinet whenever possible.  Work in a manner progressing from clean to dirty (contaminated).

8. After manipulating potentially infectious materials, make sure all are in tightly closed containers before removing them from the BSC.  Wipe down the surface of all equipment used in manipulations (pipettors, etc.) with disinfectant after removing from the BSC.  All waste and disposable items should be left in the cabinet until properly decontaminated or contained.

9. After the cabinet has been emptied, wipe exposed surfaces including the front grill and splash area with disinfectant.  Allow the blower to run for a minimum of ten minutes to purge any aerosols from inside the cabinet before shutting off the blower.

NOTE: Class IIA biosafety cabinets recirculate about 70% of the air inside themselves and exhaust the remainder to the lab.  Any use of volatile solvents should be kept to a minimum or done elsewhere.  Dangerously high levels of volatile fumes can accumulate inside the cabinet and pose a threat of fire or explosion.

# VII. DECONTAMINATION

1. Surface Decontamination: Any equipment used in conjunction with potentially infectious material must be decontaminated by wiping with [specify the appropriate disinfectant for the potentially infectious material] at least once daily.

2. Reusable Items: Reusable items shall be immersed or filled with [specify the appropriate disinfectant for the potentially infectious material] and allowed to stand for thirty minutes before being rinsed and allowed to air dry. In addition to disinfection, reusable items may be sterilized using an autoclave.

3. Liquid Waste: All liquid waste must be decontaminated with [specify the appropriate disinfectant for the potentially infectious material] prior to disposal.

# VIII. WASTE DISPOSAL

Waste that is contaminated with potentially infectious material must be disposed of as Regulated Medical Waste (RMW). No item contaminated with potentially infectious material shall ever be disposed of in the regular trash. EHSS will assist waste generators with the management of RMW. For more information on RMW, consult with the Medical Waste Generator Guidance Document.

1. Liquid Waste: All liquid waste must be decontaminated prior to disposal by adding disinfectant to the liquid waste in the BSC or in a sealed vessel following aspiration. Mix well and allow to stand for thirty minutes before being poured into the drain. Liquid poured to drain must be between the pH range of 5.5 and 10.5.

2. Solid Waste: All contaminated disposable materials (Petri dishes, flasks, pipet tips) should be disposed of as RMW.

a. Glass Waste: If glassware is not able to be reused, decontaminate with the appropriate disinfectant, and dispose of as glass waste into a puncture-resistant container.

b. “Sharps”: Razor blades, scalpels, and hypodermic needles should be used only when absolutely needed and disposed of in a puncture-resistant container.

# IX. PERSONAL PROTECTIVE EQUIPMENT (PPE)

- Appropriate gloves must be worn at all times and changed between tasks and if potentially contaminated.

- When using a BSC, protective clothing, including gloves and a long-sleeved body covering (gown, laboratory coat, smock, coverall, or similar garment) should be worn so that hands and arms are completely covered.

- Eye protection should be worn if an open-front containment system is used.

- Other protective equipment may be required, depending on the characteristics of the potentially infectious material and the containment system. For example, use additional respiratory protection if aerosols may be generated and it is not possible to use containment equipment or other engineering controls.

# X. NON-EMERGENCY SPILLS

1. All spills of any nature must be described in your laboratory notebook.  The description must include:

- the type of spill,

- the time and date it happened,

- the time and date it was cleaned up,

- the time and date you autoclaved the waste from the spill.

2. If no potential exposures and/or injuries are present and a release of potentially infectious materials is less than 100 mL volume, you may attempt to clean up the spill using the protocol below. For all other spills involving potentially infectious materials, follow the emergency protocol in section XI.

- If a small spill (< 100 mL) occurs with potentially infectious materials outside of a biosafety cabinet, proceed with the following cleanup procedure:

a. Cover spill with paper towels.

b. Flood spill with appropriate disinfectant (1:10 dilution of bleach), using care not to cause spatter.  Add disinfectant slowly to outer margin and allow it to flow in.

c. Allow disinfectant to act for 20-30 minutes before cleaning up with more paper towels and fresh disinfectant.

d. Discard materials (paper towels, gloves, and other wastes from clean up) into a plastic bag and seal.  Contact EHSS for disposal.

# XI. EMERGENCY PHONE NUMBERS AND EMERGENCY PROCEDURES

| SU Department of Public Safety | 315-443-2224 |
| --- | --- |
| Principal Investigator’s Home Phone | [ ] |
| Syracuse University Health Services | 315-443-9006 |
| Environmental Health Safety Services | 315-443-4132 |
| Biosafety Officer | 315-443-2447 |

In the event of an emergency, for example, a spill of human blood or material, release of potentially infectious material and/or recombinant DNA that presents a potential for or has already caused:

- A personal injury,

- An exposure (contact with eyes, mouth, inhalation, non-intact skin, or puncture) to a biological material of known or unknown health risk, or

- Any situation immediately dangerous to life, health, or property.

Please proceed as follows:

- EVACUATE: Immediately notify all personnel in the affected area of the spill or release and evacuate all personnel from the affected area. Notify others in the area not to enter the contaminated room. Post a warning sign to prevent entry.

- NOTIFY: Call the Department of Public Safety (DPS) at 315-443-2224 from a safe location that is unaffected by the spill. DPS will dispatch appropriate response personnel.

Be prepared to provide DPS with the following information:

  - Your name, phone number, and safe location from which you are calling.

  - The nature of the incident.

  - The location of the incident (building, floor, room number).

  - The name or type of substance (if known).

  - The quantity of substance (estimate).

  - The hazards (if known).

  - Any known injuries.

- STAY SAFE: Individuals exposed to or contaminated by a potentially infectious material must leave the immediate spill area and stay in the safe location to meet emergency responders.

- DECONTAMINATE: Individuals contaminated by infectious material must immediately follow the appropriate response actions indicated below:

  - Carefully remove any contaminated PPE and/or clothing.  When removing PPE/clothing make sure to turn the contaminated PPE/clothing inward to contain the contaminated areas.

  - Wash hands well with soap and water.

- Treat any wound sites with antiseptic soap and warm water for 15 minutes.

- If a splash to the face has occurred, flush eyes in eyewash for 15 minutes.

- DO NOT RE-ENTER THE AFFECTED AREA, until told to do so by DPS and/or EHSS.

- Medical Follow-up: Injured or exposed individuals will be offered transport to a local Hospital Emergency Room for a post-exposure evaluation. Requests for medical transport are made by contacting DPS at 315-443-2224. Seeking immediate medical attention is key in reducing the risk of infection.

Non-Emergency Spills

If a spill occurs that does not result in an injury or exposure, please refer to your laboratory specific spill clean-up procedures, and/or reference the general biohazard spill procedure online: http://ehss.syr.edu/laboratory-safety/biosafety/319-2/section-3-0-laboratory-practices/#310_Spill_Response_Procedures

Documenting Incidents

All lab personnel must report any incident or near miss to the lab supervisor. The supervisor must complete an online Incident Report Form, documenting the route of exposure and the circumstances under which the incident occurred. The online Incident Report Form is found at the following link: https://ehss.syr.edu/laboratory-safety/laboratory-incident-reporting/

It should be emphasized that incidents that did not result in an exposure (i.e. a near miss), must be communicated to the PI or laboratory supervisor and reported to EHSS. Evaluation of near misses can lead to alternative work practices and implementation of engineering controls to minimize future incidents.

Investigation of Laboratory Incidents

EHSS, in cooperation with the PI and laboratory personnel, will conduct the necessary investigation of a laboratory incident. The goal of the investigation is the prevention of a similar incident, as well as obtaining information concerning the circumstances and number of individuals who may have been exposed to the potentially infectious material in question. In addition, EHSS, in consultation with the Institutional Biosafety Committee (IBC), Health Services and/or a third-party medical provider may institute further steps to monitor the health of those who may have been exposed to the material in question.

The University’s IBC will report significant research-related accidents to the National Institutes of Health (NIH) Office of Biotechnology Activities as required.

# XII. TRAINING

Lab personnel shall demonstrate:

- Knowledge of the hazards of this material

- Knowledge of the specific work techniques necessary to control their exposure

Information contained in this document forms the basis for these competencies.

Training will be repeated annually.

# XIII. BIOLOGICAL INVENTORY

This lab will maintain a continually updated record of all potentially infectious materials and associated storage locations.

# XIV.	SECURITY

Potentially infectious materials shall be stored in storage rooms, cabinets, or freezers when not in use.

If suspicious individuals or activities are observed in your building call the Department of Public Safety at 315.443.2224.

# XV. DESIGNATED USE AREA

Entryways to research and clinical areas that handle potentially infectious material must be posted with a biohazard sign. The sign includes the international biohazard symbol, bears the legend "Biohazard", and identifies the name of the infectious material, any special entrance requirements, and the name and phone numbers of the PI or any other responsible persons.

Warning labels with the international biohazard symbol shall be affixed to vessels, equipment, and containers not disinfected after each use, including, but not limited to, refrigerators, freezers, incubators, waterbaths, sonicators, biological safety cabinets and centrifuges containing potentially infectious material. Warning labels shall also be affixed to other containers used to store, transport or ship potentially infectious material.

# PRINCIPAL INVESTIGATORS CERTIFICATION

I hereby certify that I have reviewed the contents of this manual and that it reflects my current operating policy for the laboratories [XXXX] and [YYYY] located in [Building Name].

[Principal Investigator’s Name]

[Principal Investigator’s Title]

Signature _____________________________ Annual Review Date ________

APPENDIX A – DESIGNATED USE AREAS

[Provide a floor plan/map of the lab listing location of equipment to be used with potentially infectious material]

# APPENDIX B - BIOSAFETY APPLICATION DOCUMENTATION

[Provide a copy of the Institutional Biosafety Committee Approval]

# APPENDIX C – HAZARD INFORMATION FOR BIOLOGICAL MATERIAL

[Provide hazard information regarding the biological material being used]

# Footnotes

*Agent vaccination in table should be specified, as appropriate to potential exposure in laboratory: HBV, Vaccinia, Influenza, etc.